ELECTRICAL SYSTEMS WORK / ISOLATION (PTW)

| ##### Permit no: |  |  | ##### Area / Field / Location: |  |
| --- | --- | --- | --- | --- |

Vessel: ____________________________

Description of Work _______________________________________________________________________

Location of Work __________________________________________________________________________

Designated Crew or Contractor/Authorized Person:                                                  Signature and Date:

_____________________________________________                                _________________________

_____________________________________________                                _________________________

_____________________________________________                                _________________________

_____________________________________________                                _________________________

| Sources Of Energy Involved (Tick Appropriate Option) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Electrical 110 V |  | Electrical 220 V |  | Electrical 440V |  |
| Gas (including Inert Gas) |  | Electrical |  | Pneumatic |  |
| Hydraulic |  | Steam |  | Water |  |
| Thermal |  | Chemical |  | Radiation |  |
| Sound |  | Compressed Air |  | Refrigerants |  |
| Others (Specify ) |  |  |  |  |  |

Filled in by Authorizing Officer:

Issued: ____________________ Valid Until: _________________    Signature: ______________________

Date/ Time                                             Date/Time

| Isolation points |  |  | Short term Isolation / Long term isolation ( delete as applicable ) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| No | Equipment ID | Description |  | Isolation device or method | Isolated by / Date | De-Isolated by / Date |

Risk Assessment completed:  Yes / No      JSA/Toolbox talk: Yes / No    Lock out/Tag out Log: Yes / No

CERTIFICATE OF AUTHORISATION

Authorizing Officer confirming that specified measures have been implemented / carried out:

Name: ______________________    _______________   ____________    __________________________

Date                              Time       Signature (Authorizing Officer)

The work has been completed and all persons under my supervision, the materials and equipment have been withdrawn.

CERTIFICATE OF COMPLETION

Authorized Person in Charge: _______________ Date & Time: _______________ Signature: _____________

ELECTRICAL EQUIPMENT-CHECKLIST

System:  _______________________________________________________________________

Section:  _______________________________________________________________________

Components:  ___________________________________________________________________

Company/Crew: _________________________________________________________________

Name of              _________________________________________________________________

Engineers          _________________________________________________________________

Start Date: ______________ Start Time: ____________ Duration of Work: ________ Days: __________

Finish Date: _____________ Finish Time: ___________ Hours: __________ Mins: ________

| Chief Engineer: ___________________ | Date: __________ | Signature: __________________ |
| --- | --- | --- |

| 440 Volt to 6.6 kVolt Systems | Before | After |
| --- | --- | --- |
| Safety distance known for the switchboard / Working area |  |  |
| Warning signs displayed |  |  |
| Authorized Person and Person in charge to be appointed |  |  |
| Approved tools and insulating rubber equipment available |  |  |
| Fire appliances suitable for electrical equipment in readiness |  |  |
| Circuit isolated, supply breaker removed to park position (Authorized Person/Person in charge) |  |  |
| Exposure to dangerous parts is reduced to the minimum possible |  |  |
| High voltage measuring device functionality confirmed (Authorized Person/Person in charge) |  |  |
| ''No Voltage'' measurement performed on isolated circuit (Authorized Person/Person in charge) |  |  |
| Earthing switch connected and visually checked (Authorized Person) |  |  |
| ''ln Service'' keys removed and handed over to Authorized Person. |  |  |
| ''No Voltage'' measurement performed where work is to be carried out (Authorized Person/Person in charge) |  |  |
| Portable earth cables connected and checked (Authorized Person/Person in charge) |  |  |

| Working area cleared for tools |  |  |
| --- | --- | --- |
| Portable working earth-cables disconnected |  |  |
| Removed covers and doors secured in place |  |  |
| Earthing switch disconnected |  |  |
| Earthing switch visually checked for disconnection |  |  |
| ln service keys in normal position |  |  |
| Supply breaker gas pressure on and open / moved to normal position |  |  |
| Power re-established by Authorized Person |  |  |

0 to 440 Volt Sytems

| Warning sign displayed |  |  |
| --- | --- | --- |
| Approved tools and insulating rubber equipment available |  |  |
| Fire appliances suitable for electrical equipment in readiness |  |  |
| Circuit isolated |  |  |
| lf not isolated, skilled personnel to perform work |  |  |
| Exposure to dangerous parts is reduced to the minimum possible |  |  |